## metadata
No | Metadata element name | Your input | Help reference no.
1 | Submission Date | 2014-11-21
2 | PI-1 name | Simone R. Alin | 1.1
3 | PI-1 institution | NOAA Pacific Marine Environmental Laboratory | 1.2
4 | PI-1 address | 7600 Sand Point Way NE, Building 3, Seattle, WA 98115 | 1.3
5 | PI-1 phone | 206-526-6819 | 1.4
6 | PI-1 email | simone.r.alin at noaa.gov | 1.5
7 | PI-2 name | Richard A. Feely | 1.1
8 | PI-2 institution | NOAA Pacific Marine Environmental Laboratory | 1.2
9 | PI-2 address | 7600 Sand Point Way NE, Building 3, Seattle, WA 98115 | 1.3
10 | PI-2 phone | 206-526-6214 | 1.4
11 | PI-2 email | Richard.A.Feely at noaa.gov | 1.5
12 | PI-3 name | Lauren W. Juranek | 1.1
13 | PI-3 institution | Oregon State University, College of Earth, Ocean, and Atmospheric Sciences | 1.2
14 | PI-3 address | 104 CEOAS Administration Bldg, Corvallis, OR 97331 | 1.3
15 | PI-3 phone | 541-737-2368 | 1.4
16 | PI-3 email | ljuranek at coas.oregonstate.edu | 1.5
17 | Data submitter name | Catherine E. Cosca | 2.1
18 | Data submitter institution | NOAA/PMEL | 2.2
19 | Data submitter address | 7600 Sand Point Way NE | 2.3
20 | Data submitter phone | 206-526-6183 | 2.4
21 | Data submitter email | Cathy.Cosca@noaa.gov | 2.5
22 | Title | Underway fCO2 measurements from the 2011 West Coast Ocean Acidification Cruise (WCOA2011) aboard the R/V Wecoma | 3
23 | Abstract | This cruise represents the first dedicated West Coast Ocean Acidification cruise, which took place August 12-30, 2011 aboard the R/V Wecoma. Ninety-five stations were occupied from northern Washington to southern California along thirteen transect lines. At all stations, CTD casts were conducted, and discrete water samples were collected in Niskin bottles. Underway measurements of pCO2 were collected during the duration of the cruise. The cruise was designed to obtain a synoptic snapshot of key carbon, physical, and biogeochemical parameters as they relate to ocean acidification (OA) in the coastal realm. During the cruise, some of the same transect lines were occupied as during the 2007 West Coast Carbon cruise, as well as many CalCOFI stations. This effort was conducted in support of the coastal monitoring and research objectives of the NOAA Ocean Acidification Program (OAP). | 4
24 | Purpose | The major objectives of the cruise were: 1) To characterize ocean acidification (OA) conditions on the U.S. West Coast; 2) To conduct inter-calibration measurements near other OA observing assets, including gliders and moorings, in the study area, allowing inter-calibration of these autonomous assets with high-quality, ship-based measurements; 3) To provide calibration data needed to develop predictive models for aragonite saturation state, pH, and other important OA indicators in the California Current System, based on widely measured parameters such as salinity, temperature, and oxygen concentration; 4) To examine relationships between processes leading to OA and hypoxia in coastal ecosystems; 5) To conduct biological measurements in conjunction with physical and chemical OA measurements; and 6) To provide scientific information on OA conditions and trends for resource management and decision support. | 5
25 | Start date | 2011-08-12 | 6
26 | End date | 2011-08-30 | 7
27 | Westbd longitude | -127.552 | 8.1
28 | Eastbd longitude | -117.771 | 8.2
29 | Northbd latitude | 46.1261 | 8.3
30 | Southbd latitude | 31.9502 | 8.4
31 | Spatial reference system | WGS 84 | 9
32 | Geographic names | U.S. West Coast, California Current System | 10
33 | Funding Agency | NOAA's Ocean Acidification Program | 11.1
34 | Funding project title | West Coast OA Cruise | 11.2
35 | Funding project ID | OAPFY11.01.PMEL.003 and CPO Global Carbon Cycle grant #GC10-102 | 11.3
36 | Research projects | none | 12
37 | Platform-1 name | Wecoma | 13.1
38 | Platform-1 ID | 32WC | 13.2
39 | Platform-1 type | Research vessel | 13.3
40 | Platform-1 owner | National Science Foundation | 13.4
41 | Platform-1 country | USA | 13.5
52 | EXPOCODE | 32WC20110812 | 14
53 | Cruise ID | WCOA2011 | 15
54 | Section | West Coast Ocean Acidification Cruise (WCOA) | 16
57 | Author list for citation | Alin, Simone R.; Feely, Richard A.; Juranek, Lauren W.; Cosca, Catherine E. | 19
58 | References | Pierrot, D.; Neill, C.; Sullivan, K.; Castle, R.; Wanninkhof, R.; Luger, H.; Johannessen, T.; Olsen, A.; Feely, R.A.; and Cosca, C.E. (2009). Recommendations for autonomous underway pCO2 measuring systems and data-reduction routines. Deep-Sea Res., II, v. 56, pp. 512-522. Feely, R.A., R. Wanninkhof, H.B. Milburn, C.E. Cosca, M. Stapp, and P.P. Murphy, A new automated underway system for making high precision pCO2 measurements onboard research ships, Analytica Chim. Acta, 377, 185-191, 1998. Wanninkhof and Thoning, Measurement of fugacity of Carbon Dioxide in surface water and air using continuous sampling methods, Marine Chemistry, 44, 189-205, 1993. | 20
59 | Supplemental information | http://www.pmel.noaa.gov/co2/story/West+Coast+cruise+2011 | 21
60 | DIC: Variable abbreviation in data files |  | 22.1
61 | DIC: Observation type |  | 22.2
62 | DIC: In-situ observation / manipulation condition / response variable |  | 22.3
63 | DIC: Variable unit |  | 22.4
64 | DIC: Measured or calculated |  | 22.5
65 | DIC: Sampling instrument |  | 22.6
66 | DIC: Analyzing instrument |  | 22.7
67 | DIC: Detailed sampling and analyzing information |  | 22.8
68 | DIC: Field replicate information |  | 22.9
69 | DIC: Standardization technique description |  | 22.10.1
70 | DIC: Frequency of standardization |  | 22.10.2
71 | DIC: CRM manufacturer |  | 22.10.3.1
72 | DIC: Batch number |  | 22.10.3.2
73 | DIC: Poison used to kill the sample |  | 22.11.1
74 | DIC: Poison volume |  | 22.11.2
75 | DIC Poisoning correction description |  | 22.11.3
76 | DIC: Uncertainty |  | 22.12
77 | DIC: Data quality flag description |  | 22.13
78 | DIC: Method reference (citation) |  | 22.14
79 | DIC: Researcher Name |  | 22.15.1
80 | DIC: Researcher Institution |  | 22.15.2
81 | TA: Variable abbreviation in data files |  | 23.1
82 | TA: Observation type |  | 23.2
83 | TA: In-situ observation / manipulation condition / response variable |  | 23.3
84 | TA: Variable unit |  | 23.4
85 | TA: Measured or calculated |  | 23.5
86 | TA: Sampling instrument |  | 23.6
87 | TA: Analyzing instrument |  | 23.7
88 | TA: Type of titration |  | 23.8
89 | TA: Cell type (open or closed) |  | 23.9
90 | TA: Curve fitting method |  | 23.10
91 | TA: Detailed sampling and analyzing information |  | 23.11
92 | TA: Field replicate information |  | 23.12
93 | TA: Standardization technique description |  | 23.13.1
94 | TA: Frequency of standardization |  | 23.13.2
95 | TA: CRM manufacturer |  | 23.13.3.1
96 | TA: Batch Number |  | 23.13.3.2
97 | TA: Poison used to kill the sample |  | 23.14.1
98 | TA: Poison volume |  | 23.14.2
99 | TA: Poisoning correction description |  | 23.14.3
100 | TA: Magnitude of blank correction |  | 23.15
101 | TA: Uncertainty |  | 23.16
102 | TA: Data quality flag description |  | 23.17
103 | TA: Method reference (citation) |  | 23.23
104 | TA: Researcher Name |  | 23.19.1
105 | TA: Researcher Institution |  | 23.19.2
106 | pH: Variable abbreviation in data files |  | 24.1
107 | pH: Observation type |  | 24.2
108 | pH: In-situ observation / manipulation condition / response variable |  | 24.3
109 | pH: Measured or calculated |  | 24.4
110 | pH: Sampling instrument |  | 24.5
111 | pH: Analyzing instrument |  | 24.6
112 | pH: pH scale |  | 24.7
113 | pH: Temperature of measurement |  | 24.8
114 | pH: Detailed sampling and analyzing information |  | 24.9
115 | pH: Field replicate information |  | 24.10
116 | pH: Standardization technique description |  | 24.11.1
117 | pH: Frequency of standardization |  | 24.11.2
118 | pH: pH values of the standards |  | 24.11.3
119 | pH: Temperature of standardization |  | 24.11.4
120 | pH: Temperature correction method |  | 24.12
121 | pH: at what temperature was pH reported |  | 24.13
122 | pH: Uncertainty |  | 24.14
123 | pH: Data quality flag description |  | 24.15
124 | pH: Method reference (citation) |  | 24.16
125 | pH: Researcher Name |  | 24.17.1
126 | pH: Researcher Institution |  | 24.17.2
127 | pCO2A: Variable abbreviation in data files | fCO2W@SST | 25.1
128 | pCO2A: Observation type | Surface underway | 25.2
129 | pCO2A: In-situ observation / manipulation condition / response variable | In situ observation | 25.3
130 | pCO2A: Variable unit | uatm | 25.4
131 | pCO2A: Measured or calculated | Calculated | 25.5
132 | pCO2A: Sampling instrument | Seawater pump | 25.6
133 | pCO2A: Location of seawater intake | Bow | 25.7
134 | pCO2A: Depth of seawater intake | 3 meters | 25.8
135 | pCO2A: Analyzing instrument | Neill Underway pCO2 measuring system (developed by Craig Neill, precursor to General Oceanics 8050). PMEL system ID: PMEL2 | 25.9
136 | pCO2A: Detailed sampling and analyzing information | The sampling and analyzing methods of the Neill/General Oceanics Underway pCO2 systems are described in detail in: Pierrot, D.; Neill, C.; Sullivan, K.; Castle, R.; Wanninkhof, R.; Luger, H.; Johannessen, T.; Olsen, A.; Feely, R.A.; and Cosca, C.E. (2009). Recommendations for autonomous underway pCO2 measuring systems and data-reduction routines. Deep-Sea Res., II, v. 56, pp. 512-522. | 25.10
137 | pCO2A: Equilbrator type | Shower head | 25.11.1
138 | pCO2A: Equilibrator volume (L) | ~0.5 L | 25.11.2
139 | pCO2A: Vented or not | Vented | 25.11.3
140 | pCO2A: Water flow rate (L/min) | 3 L/min | 25.11.4
141 | pCO2A: Headspace gas flow rate (L/min) | ~0.8 L/m | 25.11.5
142 | pCO2A: How was temperature inside the equilibrator measured . | Hart Scientific model 1521 digital thermometer, serial number A68850, with an NIST traceable model 5610 thermistor probe, serial number A690607. Accurate to ± 0.01°C. | 25.11.6
143 | pCO2A: How was pressure inside the equilibrator measured. | Setra 239 differential pressure transducer, accurate to ± 0.15 hPa. The equilibrator was passively vented to a secondary equilibrator, and the Licor sample output was vented to the laboratory when CO2 measurements were made, thus equilibrator headspace pressure was assumed to be laboratory pressure. Pressure in the laboratory was measured with a GE Druck barometer, serial number 3054512, with an accuracy of ± 0.01 %fs. | 25.11.7
144 | pCO2A: Drying method for CO2 gas | From Pierrot, et al.: Sample air is dried in a condenser that is cooled to 4-5 oC by a Peltier thermoelectric device. This partially dried air flushes a chamber that is vented and remains at ambient pressure. The dried air inside the chamber is used as the counter flow in the Nafion® tubing. A vacuum pump pulls the dried air from the chamber first through a fixed restrictor and then through the Nafion® tubes, thus creating an absolute pressure and corresponding partial pressure gradient for water vapor across the membrane. When atmospheric air is measured, some of the partially dried air (80- 100 ml/min) is pushed through a Nafion® tube, the analyzer and out a vent instead of flushing the chamber. The headspace gas, when being measured, is circulated in a closed loop through the analyzer at a rate similar to that of the atmospheric air (80-100 ml/min). It is dried first in the condenser, then in a Nafion® tube prior to entering the analyzer and being returned to the equilibrator. Typically, the water mole fraction (xH2O) in the dried gas is about 2 parts per thousand (ppt), which corresponds to a dew point temperature of about -20 °C. The liquid water condensed out of the sample air streams is removed by peristaltic pumps into the vent equilibrator at intervals determined by the user. | 25.12
145 | pCO2A: Manufacturer of the gas detector | Licor, Inc | 25.13.1
146 | pCO2A: Model of the gas detector | Licor 6262, IRG3-1285 | 25.13.2
147 | pCO2A: Resolution of the gas detector | 0.2 µatm | 25.13.3
148 | pCO2A: Uncertainty of the gas detector | 0.3 µatm for equilibrator measurements, 0.2 µatm for atmospheric measurements | 25.13.4
149 | pCO2A: Standardization technique description | The system runs a full cycle in approximately 5 hours. The cycle starts with 4 standard gases, then measures 90 surface water samples interspersed with 5 atmospheric samples every 30 minutes. Each new gas is flushed through the Licor Analyzer for 4 minutes prior to a 10 second reading from the analyzer during which the sample cell is open to the atmosphere. Subsequent samples of the same gas are flushed through the Licor Analyzer for 30 seconds prior to a stop-flow measurement. | 25.14.1
150 | pCO2A: Frequency of standardization | Every 5 hours | 25.14.2
151 | pCO2A: Manufacturer of standard gas | Standard gases are supplied by NOAA’s Earth System Research Laboratory, Global Monitoring Division, in Boulder, CO, and are directly traceable to the WMO scale. | 25.14.3.1
152 | pCO2A: Concentrations of standard gas | LL83535, 246.77 ppm; LL83519, 348.42 ppm; LL154382, 495 ppm; LL154371, 628.59 ppm | 25.14.3.2
153 | pCO2A: Uncertainties of standard gas | 0.01 ppm | 25.14.3.3
154 | pCO2A: Water vapor correction method | Details of the data reduction are described in Pierrot, et.al. (2009). | 25.15
155 | pCO2A: Temperature correction method | Details of the data reduction are described in Pierrot, et.al. (2009). | 25.16
156 | pCO2A: at what temperature was pCO2 reported | In situ sea surface temperature | 25.17
157 | pCO2A: Uncertainty | ± 0.01°C | 25.18
158 | pCO2A: Data quality flag description | WOCE quality control flags are used: 2 = good value, 3 = questionable value, 4 = bad value | 25.19
159 | pCO2A: Method reference (citation) | Pierrot, D.; Neill, C.; Sullivan, K.; Castle, R.; Wanninkhof, R.; Luger, H.; Johannessen, T.; Olsen, A.; Feely, R.A.; and Cosca, C.E. (2009). Recommendations for autonomous underway pCO2 measuring systems and data-reduction routines. Deep-Sea Res., II, v. 56, pp. 512-522. | 25.20
160 | pCO2A: Researcher Name | Simone R. Alin | 25.21.1
161 | pCO2A: Researcher Institution | Pacific Marine Environmental Laboratory, National Oceanic and Atmospheric Administration | 25.21.2
162 | pCO2D: Variable abbreviation in data files |  | 26.1
163 | pCO2D: Observation type |  | 26.2
164 | pCO2D: In-situ observation / manipulation condition / response variable |  | 26.3
165 | pCO2D: Variable unit |  | 26.4
166 | pCO2D: Measured or calculated |  | 26.5
167 | pCO2D: Sampling instrument |  | 26.6
168 | pCO2D: Analyzing instrument |  | 26.7
169 | pCO2D: Storage method |  | 26.8
170 | pCO2D: Seawater volume (mL) |  | 26.9
171 | pCO2D: Headspace volume (mL) |  | 26.10
172 | pCO2D: Temperature of measurement |  | 26.11
173 | pCO2D: Detailed sampling and analyzing information |  | 26.12
174 | pCO2D: Field replicate information |  | 26.13
175 | pCO2D: Manufacturer of the gas detector |  | 26.14.1
176 | pCO2D: Model of the gas detector |  | 26.14.2
177 | pCO2D: Resolution of the gas detector |  | 26.14.3
178 | pCO2D: Uncertainty of the gas detector |  | 26.14.4
179 | pCO2D: Standardization technique description |  | 26.15.1
180 | pCO2D: Frequency of standardization |  | 26.15.2
181 | pCO2D: Temperature of standardization |  | 26.15.3
182 | pCO2D: Manufacturer of standard gas |  | 26.15.4.1
183 | pCO2D: Concentrations of standard gas |  | 26.15.4.2
184 | pCO2D: Uncertainties of standard gas |  | 26.15.4.3
185 | pCO2D: Water vapor correction method |  | 26.16
186 | pCO2D: Temperature correction method |  | 26.17
187 | pCO2D: at what temperature was pCO2 reported |  | 26.18
188 | pCO2D: Uncertainty |  | 26.19
189 | pCO2D: Data quality flag description |  | 26.20
190 | pCO2D: Method reference (citation) |  | 26.21
191 | pCO2D: Researcher Name |  | 26.22.1
192 | pCO2D: Researcher Institution |  | 26.22.2
193 | Var1: Variable abbreviation in data files | SST(TSG)_C | 27.1
194 | Var1: Full variable name | Sea surface temperature | 27.2
195 | Var1: Climate and Forecast standard name |  | 27.3
196 | Var1: Observation type | Surface underway | 27.4
197 | Var1: In-situ observation / manipulation condition / response variable | In-situ observation | 27.5
198 | Var1: Variable unit | degrees Celsius | 27.6
199 | Var1: Measured or calculated | Measured | 27.7
200 | Var1: Sampling instrument | Seawater pump | 27.8
201 | Var1: Analyzing instrument | Thermosalinograhs onboard the research vessel | 27.9
202 | Var1: Duration (for settlement/colonization methods) |  | 27.10
203 | Var1: Detailed sampling and analyzing information |  | 27.11
204 | Var1: Field replicate information |  | 27.12
205 | Var1: Uncertainty |  | 27.13
206 | Var1: Data quality flag description |  | 27.14
207 | Var1: Method reference (citation) |  | 27.15
208 | Var1: Biological subject |  | 27.16
209 | Var1: Species Identification code |  | 27.17
210 | Var1: Researcher Name | Simone R. Alin | 27.18.1
211 | Var1: Researcher Institution | Pacific Marine Environmental Laboratory, National Oceanic and Atmospheric Administration | 27.18.2
212 | Var2: Variable abbreviation in data files | SAL(TSG)_PERMIL | 27.1
213 | Var2: Full variable name | Sea surface salinity | 27.2
214 | Var2: Climate and Forecast standard name |  | 27.3
215 | Var2: Observation type | Surface underway | 27.4
216 | Var2: In-situ observation / manipulation condition / response variable | In-situ observation | 27.5
217 | Var2: Variable unit |  | 27.6
218 | Var2: Measured or calculated | Measured | 27.7
219 | Var2: Sampling instrument | Seawater pump | 27.8
220 | Var2: Analyzing instrument | Thermosalinograhs onboard the research vessel | 27.9
221 | Var2: Duration (for settlement/colonization methods) |  | 27.10
222 | Var2: Detailed sampling and analyzing information |  | 27.11
223 | Var2: Field replicate information |  | 27.12
224 | Var2: Uncertainty |  | 27.13
225 | Var2: Data quality flag description |  | 27.14
226 | Var2: Method reference (citation) |  | 27.15
227 | Var2: Biological subject |  | 27.16
228 | Var2: Species Identification code |  | 27.17
229 | Var2: Researcher Name | Simone R. Alin | 27.18.1
230 | Var2: Researcher Institution | Pacific Marine Environmental Laboratory, National Oceanic and Atmospheric Administration | 27.18.2